DA-LP1101R/T

Architectural and Engineering Specifications

Version 1.0

(Mar. 30, 2017)

**PART 2 - PRODCUTS**

**Division 27 – Communications**

**Section 27.16.16 – Communications Media Converters, Adapters, and Transceivers**

## Manufacturer

1. IDIS Co., Ltd.  
   IDIS Tower, 344 Pangyo-ro, Bundang-gu  
   Seongnam-si, Gyeonggi-do, 463-400, Korea  
   Tel: +82 31 723 5400  
   Fax: +82 31 723 5100

## General

### Product Description

DA-LP1101R/T is a long distance networking-specific solution that supports Ethernet connections up to 500 meters. This versatile connector empowers integrators and end users to establish networks beyond the limitations of common cables requiring repeater connections every 100 meters. By connecting a network video recorder (NVR) and camera with the IDIS Long Reach PoE Extender, users can now build a network without multiple separate repeater connections, enabling cost savings and simplifying network environments.

### General Specification

1. The device shall be equipped with 1 RJ-45 PD (Powered Device) and 1 RJ-45 PSE (Power Sourcing Equipment).
2. The device shall be equipped with RJ-45, auto-MDI/MDI-X sensing connectivity.
3. The device shall support up to 30W PoE.(Depending on cable distance and power input)
4. The device shall support up to 30W PoE power budget.
5. The device shall be equipped with 10/100/1000 Base-T(DA-LP1101R), RJ-45 Ethernet connection.
6. The device shall support up to 500m PoE transmission between devices using UTP cabling.
7. The device shall support up to 700m data transmission between equipment using UTP cabling.
8. The device shall support plug-and-play without any required PC settings.
9. The device shall support 1Gbps / IEEE802.3at for PoE Injector. (DA-LP1101R)
10. The device shall support 1Gbps / IEEE802.3at / 100 meters for PoE Repeater. (DA-LP1101R)

## Technical Specification

### Specification of DA-LP1101R operated as PoE Injector or PoE Repeater

1. Port
   1. RJ-45 x 1 with PD
   2. RJ-45 x 1 with PSE
2. Connectivity: RJ-45, Auto-MDI/MDI-X Sensing
3. Power Input: IEEE 802.3at, 48 ~ 56V DC
4. Power Output: Max. 720mA
5. PoE Standard
   1. IEEE 802.3at PD
   2. IEE 802.3at PSE
6. PSE Budget: Up to 30W
7. Speed: 10/100/1000Mbps

### Specification of DA-LP1101R/T operated as Long Reach PoE Extender

1. Port
   1. RJ-45 x 1 with PD
   2. RJ-45 x 1 with PSE
2. Connectivity: RJ-45, Auto-MDI/MDI-X Sensing
3. Power Input: IEEE 802.3at, 48 ~ 56 V DC
4. Power Output: Max. 720mA
5. PoE Standard
   1. IEEE 802.3at PD
   2. IEE 802.3at PSE
6. PoE Budget: Up to 30W (Depending on Cable Distance and Power Input)
7. Wire type: UTP CAT5E or Above
8. Speed: 10/100Mbps

### LEDs and Button

1. Link status LED: 2 Yellow LED (Link / Activity LED per Ethernet Port)

2. PoE Status: 1 Green LED (PSE LED)

3. Reset Button: None

4. Power LED: 1 Green LED

## Mechanical Specifications

1. Unit Dimensions (W x H x D): 102 mm x 34 mm x 96 mm (4.01" x 1.33" x 3.77")
2. Unit Weight: 226g ( 0.49lb)

## Environmental Specifications

1. Working Temperature: -10°C to 50°C (14℉ ~ 122℉)
2. Operating Humidity: 0% ~ 90%


## Electrical Specifications

1. Regulatory Approvals:
   1. Electrical: KC, CE, FCC
2. PoE Output Capability


|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Distance | Data Rate | DA-LP1101T IEE802.3at PoE Output Capability (Using UTP CAT5E Cable) | | |
| DA-LP1101R  with IEEE 802.3at | DA-LP1101R  with 56V DC Input | DA-LP1101T  with 56V DC Input |
| 100m | 100Mbps | 19.65W | 27.80W | 30.68W |
| 200m | 100Mbps | 18.28W | 25.57W | 30.68W |
| 300m | 100Mbps | 16.81W | 23.24W | 30.68W |
| 400m | 100Mbps | 16.00W | 20.85W | 30.68W |
| 500m | 100Mbps | 13.36W | 18.01W | 30.68W |
| 600m | 100Mbps |  |  | 30.68W |
| 700m | 100Mbps |  |  | 30.68W |

## Appendix. A IDIS Long Reach PoE Installation


* + - 1. Installation with PoE NVR or Switch



* + - 1. Installation with External DC Power (DA-LP1101R)



* + - 1. Installation with External DC Power (DA-LP1101T)



* + - 1. Installation for PoE Repeater



* + - 1. Installation for PoE Injector



# Version History

|  |  |  |  |
| --- | --- | --- | --- |
| **Version** | **Writer** | **Revision Date** | **Remarks** |
| 1.0 | Brandon Jo | Mar. 30, 2017 | Initial Release |